## Source_출처
field | value | note
Antibody (INN) | Ustekinumab
Brand name | WEZLANA (US) / WEZENLA (EU) -- Amgen's biosimilar to STELARA (Janssen). Internal Amgen code ABP 654. Anti-IL-12/IL-23 p40 subunit monoclonal antibody, marketed as a 90 mg/mL subcutaneous liquid presentation (prefilled syringe and prefilled syringe/autoinjector; 45 mg and 90 mg dose strengths).
Assignee searched | Amgen Inc. (indexed entity_ids: AMGEN INC, AMGEN INC., AMGEN, INC., AMGEN RES MUNICH GMBH, AMGEN FREMONT INC)
SC formulation/CQA patent found | ONE patent: US20260176330A1 "COMPOSITIONS OF ANTI-INTERLEUKIN 12/INTERLEUKIN 23 ANTIBODY" (Amgen Inc.; inventors Qian Liu, Juma Bridgewater, Siddharth Prabhu, Joshua Tokuda, Dong Xiang). Filed 2023-10-27 (US application 19/124,318), published 2026-06-25. Claims priority to three US provisionals: 63/381,459 (filed 2022-10-28), 63/583,438 (filed 2023-09-18), 63/591,990 (filed 2023-10-20).
Family status | findip family lookup (section='family') returned a SINGLE-member family (family_id u:US2026176330A1): only this US publication is held/indexed; no granted patent or non-US equivalent found in findip's index as of the search date. This is a pre-grant publication (kind code A1), not yet examined to grant.
IMPORTANT - nature of this patent | This is NOT a classic excipient/formulation-screening patent (i.e., it does not claim a specific buffer/sugar/surfactant recipe as the point of novelty). Its claims and Examples define ACCEPTABLE RANGES of six product-related molecular attributes / critical quality attributes (CQAs) of the ustekinumab biosimilar drug substance -- light-chain Trp32 oxidation, heavy-chain Trp33 oxidation, heavy-chain Asp55 isoaspartic-acid isomerization, high-molecular-weight (HMW) species (dimers/oligomers), high-mannose glycans, and sialylation/CEX acidic-peak species -- benchmarked against the commercial STELARA Reference Product, including how these attributes drift during real-time (5C) and accelerated (30C/75%RH) storage. It is best understood as a manufacturing/specification-range and comparability patent, not a formulation-composition patent. It does, however, disclose the actual ABP 654 commercial drug-product formulation (90 mg/mL ustekinumab, L-histidine/L-histidine HCl buffer at 1 mg/mL, polysorbate 80 at 0.04 mg/mL, sucrose at 76 mg/mL, pH 5.7-6.3; paragraph [0126]) and rich shelf-life/storage-stability data (Tables 1-9, Examples 1-13), which are captured in Long_원자료 below.
Consistent with project pattern | As expected for most biosimilar SC products in this project, Amgen did NOT file a distinct excipient/buffer-composition patent for ABP 654 -- the commercial formulation (histidine/sucrose/polysorbate 80, pH ~5.7-6.3, 90 mg/mL) mirrors the originator Janssen STELARA formulation. What Amgen DID patent is the broader-than-originator CQA specification ranges enabled by their manufacturing process and supported by comparability/clinical data -- a different, but legitimate and data-rich, category of IP.
Search tool | findip MCP (findip_find_applicant, findip_search_patents, findip_get_patent_section, findip_get_patent_details)
Applicant entity_ids used | AMGEN INC (primary hit), also queried AMGEN INC., AMGEN, INC., AMGEN RES MUNICH GMBH, AMGEN FREMONT INC
Search query | "stable subcutaneous liquid formulation of anti-IL-12/23 p40 subunit monoclonal antibody ustekinumab at approximately 90 mg/mL with excipient composition and stability testing" (applicant_entity_ids=[AMGEN INC], top_k=10) -- top hit was US20260176330A1. Confirmed on a follow-up query restricted to countries=[US] and to a narrower "ustekinumab biosimilar drug product formulation excipients stability" phrasing; other Amgen hits returned (TIGIT/CD112R, anti-PD-1, anti-TNF-alpha/adalimumab [already covered in a separate dataset], eculizumab, generic viscosity-reduction method, an old panitumumab formulation patent EP2094247B1) were confirmed NOT related to ustekinumab by reading their abstracts/claim 1.
Extraction method | Full description text (269 paragraphs) and all 38 claims of US20260176330A1 retrieved via findip_get_patent_section(section='description'/'claims', nums=ranges) and findip_get_patent_details (sections='description'), read in full paragraph-by-paragraph. All 9 embedded data tables (Tables 1-9) were manually located and transcribed cell-by-cell from the returned markdown; values were cross-checked against the surrounding narrative text (which restates many of the same figures in prose) before being entered into Long_원자료. NO regex-based bulk table parsing was used -- every table was read and transcribed by hand.
Data-quality notes | (1) Table 1 and Table 3 report different % IsoAsp (HC D55) ranges for the same 'ustekinumab composition' material (1-2% in Table 1 vs. 5-13% in Table 3); both are transcribed verbatim in Long_원자료 with the discrepancy flagged in the notes column rather than silently reconciled. (2) The Example 8 force-degradation study (thermal stress 50C/0-14 days and photostability 25C/8klux/0-6.3 days) defines real stress conditions but its results are presented ONLY as graphs (FIG. 1A, 1B, 2A-C, 3A-B) with no extractable numeric time-course in the text; these are recorded as composition/condition rows with value='See FIG. X (graphical only)', not fabricated into numbers. (3) Several 'clinical exposure' values for the 45 mg dose (Examples 9-13) are explicitly gravimetric back-calculations from the 90 mg-dose measured values, not independently measured 45 mg lots -- this is stated in the patent text itself and repeated in the notes column here. (4) The second formulation embodiment in paragraph [0126] (5 mg/mL, with EDTA and L-methionine) is disclosed but not explicitly tied to a numbered Example in the extracted text; its role (e.g., bulk drug substance vs. alternate product) is not stated.
Downloaded source files | D:\Project\2026_2\AbSwitch\patent_sources\ustekinumab_amgen_US20260176330A1.pdf (USPTO Patent Public Search PDF, ~116 pages) and ustekinumab_amgen_US20260176330A1.md (bibliographic + abstract + claims + full description, findip-sourced).
Extraction date | 2026-08-13

## Wide_요약
formulation_id | protein_conc_mg_ml | buffer | stress_type | storage_temp_C | duration | % HMW by SE-UHPLC | % IsoAsp (HC D55) by reduced peptide map | % LC W32Ox by reduced peptide map | % High Mannose by HILIC | % Sialylation by HILIC | % CEX Acidic Peak by CEX-HPLC | % HMW | % IsoAsp (HC D55) | % LC W32Ox | % High Mannose | % Sialylation | % CEX Acidic Peak | Oxidized LC W32 (%) by reduced peptide map | % IL-23 Receptor-Ligand Binding (mean, %CV in parens) | % Inhibition of IL-23-mediated signaling (mean, %CV in parens) | % IL-12 Receptor-Ligand Binding (mean, %CV in parens) | % Inhibition of IL-12-mediated signaling (mean, %CV in parens) | Estimated increase in clearance vs. 0.7% HM reference (model) | % Sialylation (US Reference Product PFS) | Sialylated species exposure (US Reference Product PFS) | % Sialylation (EU Reference Product PFS) | Sialylated species exposure (EU Reference Product PFS) | % Sialylation (Ustekinumab Composition PFS) | Sialylated species exposure (Ustekinumab Composition PFS) | % Sialylation (Ustekinumab Composition PFS/Autoinjector) | Sialylated species exposure (Ustekinumab Composition PFS/Autoinjector) | % Acidic Peaks by CEX-HPLC | SE-UHPLC and reduced peptide mapping (aggregation/oxidation trend) | HMW common slope estimate | HMW species exposure, 90 mg dose | HMW species exposure, 45 mg dose (calculated) | D55 isomerization (IsoAsp) common slope estimate | IsoAsp (HC D55) exposure, 90 mg dose | IsoAsp (HC D55) exposure, 45 mg dose (calculated) | High Mannose (HM) exposure, 90 mg dose | High Mannose (HM) exposure, 45 mg dose (calculated) | Oxidized LC W32 exposure, 90 mg dose | Oxidized LC W32 exposure, 45 mg dose (calculated) | Oxidized HC W33 exposure, 90 mg dose | Oxidized HC W33 exposure, 45 mg dose (calculated) | CEX-HPLC acidic peak species exposure, 90 mg dose | CEX-HPLC acidic peak species exposure, 45 mg dose (calculated)
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) |  |  | 0.5-0.8 % | 1-2 % | 0 to <2 % | 2.0-3.7 % | 22.3-29.5 % | 46.9-55.0 %
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) |  |  | 0.1-0.5 % | 0-5 % | 0 to <1 % | 0.7-1.8 % | 8.5-26.4 % | 14.3-27.6 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Real-time storage condition (RSC), 5C, prefilled syringe (PFS), horizontal orientation | 5 | 22 months | 0.5-0.6 % | 5 % | <1 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | RSC 5C x22mo, then accelerated storage condition (ASC) 30C/75%RH x2mo, PFS, horizontal orientation | 5 then 30 | 22 months + 2 months | 0.6-0.8 % | 13 % | 1 to <2 %
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Real-time storage condition (RSC), 5C, then archived at -70C prior to expiry; PFS/45mg vial/130mg vial SKUs | 5 | 36 months | 0.3-0.4 % | 5-6 % | <1 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | [8 empty] | 0.5-0.8 % | 5-13 % | 0 to <2 % | 2.0-3.7 % | 22.3-29.5 % | 46.9-55.0 %
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | [8 empty] | 0.1-0.5 % | 4-6 % | <1 % | 0.7-1.8 % | 8.5-26.4 % | 14.3-27.6 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control |  | 0 h (control) | [12 empty] | 1 % | 104 (7) % | 95 (2) % | 100 (6) % | 103 (3) %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 |  | 24 h | [12 empty] | 44 % | 101 (6) % | 54 (7) % | 106 (7) % | 66 (2) %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | PK modeling (simulation), not an empirical storage/thermal stress study | [19 empty] | 10 %
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Clinical trial exposure calculation (Phase 1), 90 mg dose | [20 empty] | 23.3 % | 20.9 mg | 23.0 % | 20.7 mg
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Clinical trial exposure calculation (Phase 1), 90 mg dose | [24 empty] | 29.0 % | 26.1 mg | 28.9 % | 26.0 mg
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | RSC 2-8C x22mo, then ASC 30C x2mo (n=10 lots HMW/Acidic; n=4 lots IsoAsp/W32Ox) | 2-8 then 30 | 22 months + 2 months | 0.1-0.9 % | 13-14 % | 1-2 % | [23 empty] | 57.5-60.3 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | RSC 2-8C x34mo, then ASC 30C x2mo (n=1 lot HMW/Acidic; n=2 lots IsoAsp/W32Ox) | 2-8 then 30 | 34 months + 2 months | 0.8 % | 14 % | 1 % | [23 empty] | 59.2 %
F3_desialylation_forcedeg_buffer | 90-100 (post buffer-exchange/concentration; approximate per text) | L-Histidine | Thermal stress (forced degradation), desialylated vs. sialylated (28% ustekinumab / 20% Reference Product) material | 50 | 0, 3, 7, 10, 14 days | [27 empty] | See FIG. 1B (graph, not extractable as text)
F3_desialylation_forcedeg_buffer | 90-100 (post buffer-exchange/concentration; approximate per text) | L-Histidine | Photo stress (forced degradation), 8.0 klux cool white visible light, desialylated vs. sialylated material | 25 | 0, 1, 3, 6.3 days (1.2 million lux-hours total) | [27 empty] | See FIG. 1A (graph, not extractable as text)
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Real-time storage stability modeling, 5C (clinical-lot regression slope) | 5 | per month (regression slope) | [28 empty] | 0.001 %/month |  |  | 0.0 %/month
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Real-time storage stability modeling, 5C (clinical-lot regression slope) | 5 | per month (regression slope) | [28 empty] | 0.008211 %/month |  |  | 0.00246 %/month
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | 5 | through time of clinical administration | [29 empty] | 0.52 % |  |  | 7.15 % |  | 3.18 % |  | 1.0 % |  | 0.4 % |  | 55.31 %
F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model |  | through time of clinical administration (45 mg dose, gravimetric calc.) | [30 empty] | 1.04 % |  |  | 14.3 % |  | 6.36 % |  | 2.0 % |  | 0.8 % |  | 110.62 %
F4_STELARA_ReferenceProduct_Janssen | 90 |  | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | 5 | through time of clinical administration | [29 empty] | 0.32 % |  |  | 3.0 % |  | 1.03 % |  | 0.3 % |  | 0.05 % |  | 27.02 %

## Long_원자료
patent_id | formulation_id | protein_conc_mg_ml | buffer | buffer_conc_mM | ph | sugar_or_polyol | sugar_conc | surfactant | surfactant_conc_pct | amino_acid | amino_acid_conc_mM | other_excipients | storage_temp_C | duration | stress_type | stability_category | indicator_name | value | unit | notes
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Formulation composition (reference) | composition | Formulation composition defined | See excipient columns |  | Paragraph [0126]: "the pharmaceutical composition may comprise anti-IL-12/IL-23 antibodies (e.g., ustekinumab) at 90 mg/mL, L-histidine and L-histidine monohydrochloride monohydrate at 1 mg/mL, polysorbate 80 at 0.04 mg/mL, and sucrose at 76 mg/mL, at a pH of 5.7-6.3." This matches the commercial ABP 654 / WEZLANA(TM)(US)/WEZENLA(TM)(EU) prefilled-syringe drug product used throughout Examples 2,3,6.1-6.2,7,9-13 (referred to in-text as "ustekinumab composition").
US20260176330A1 | F2_ABP654_altRD_5mgmL | 5 | L-Histidine / L-Histidine monohydrochloride monohydrate | 10 | 6 | Sucrose | 8.5% (w/v) | Polysorbate 80 | 0.04 | L-Methionine | 2.7 | EDTA 0.05 mM |  |  | Formulation composition (reference) | composition | Formulation composition defined | See excipient columns |  | Paragraph [0126], second disclosed embodiment: "the pharmaceutical composition may comprise anti-IL-12/IL-23 antibodies (e.g., ustekinumab) at 5 mg/mL, L-histidine and L-histidine monohydrochloride monohydrate at 10 mM, sucrose at 8.5% (w/v), EDTA at 0.05 mM, L-methionine at 2.7 mM, polysorbate 80 at 0.040% (w/v), at a pH of 6.0." Not linked to a specific numbered Example in the extracted text; disclosed as an alternate/lower-concentration embodiment, role (bulk intermediate vs. alternate dosage form) not specified.
US20260176330A1 | F3_desialylation_forcedeg_buffer | 90-100 (post buffer-exchange/concentration; approximate per text) | L-Histidine | 6.4 | 6 | Sucrose | 7.6% (w/v) | Polysorbate 80 | 0.002-0.006 (spiked from 0.1% stock solution) | [5 empty] | Formulation composition (reference) | composition | Formulation composition defined | See excipient columns |  | Paragraph [0243] (Example 8 methods): reformulation buffer used to prepare desialylated and sialylated control samples for the force-degradation stress study. "Purified IgG was immediately buffer exchanged with 6.4 mM L-histidine, 7.6% sucrose, pH 6 by 10 kDa MWCO filter and concentrated with same filter. The estimated concentration after buffer exchange should be 90-100 mg/mL. Finally, 0.1% PS80 was spiked in protein solution to make the final PS80 concentration at 0.002-0.006%." Close to but not identical to the commercial F1 formulation (lower histidine/sucrose molar values, much lower PS80).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Formulation composition (reference) | composition | Formulation composition defined | See excipient columns |  | Reference Product = commercially available STELARA(R) (ustekinumab), Janssen Biotech, Inc. (paragraph [0004]). This Amgen patent does NOT restate the Reference Product's numeric excipient composition anywhere in the extracted text -- buffer/sugar/surfactant columns intentionally left blank rather than filled from outside knowledge (e.g., the public FDA label), per the no-fabrication rule for this dataset. Protein_conc_mg_ml=90 reflects the commercial 90 mg dose strength referenced throughout the Examples (a 45 mg dose/strength is also referenced).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % HMW by SE-UHPLC | 0.5-0.8 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots". No. of lots not separately stated for Table 1 (see Table 2/3 for lot counts of related datasets).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % IsoAsp (HC D55) by reduced peptide map | 1-2 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots". NOTE: this Table-1 range (1-2%) is narrower than the IsoAsp range Amgen reports elsewhere for the same 'ustekinumab composition' in Table 3 (5-13%) and in claim/body text ("greater than 6% and no more than 14%"). Both values are transcribed verbatim as printed in their respective tables; the discrepancy is not resolved/corrected here (see Table 3 notes).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % LC W32Ox by reduced peptide map | 0 to <2 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots". Footnote *: "W32 oxidation values were reported as follows: 0% to 0.5% were reported as <1; values of >=0.5 to 1.5 were reported as 1, and would be understood to refer to values of 1 to <2% when rounding to the nearest digit. It will be understood that the measured values of ustekinumab composition were 0% to <2%."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % High Mannose by HILIC | 2.0-3.7 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % Sialylation by HILIC | 22.3-29.5 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % CEX Acidic Peak by CEX-HPLC | 46.9-55.0 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots".
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % HMW by SE-UHPLC | 0.1-0.5 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % IsoAsp (HC D55) by reduced peptide map | 0-5 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % LC W32Ox by reduced peptide map | 0 to <1 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % High Mannose by HILIC | 0.7-1.8 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % Sialylation by HILIC | 8.5-26.4 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Manufacturing lot characterization (in-process/release testing across multiple lots; specific storage duration not stated for this table) | Molecular attribute range (lot testing) | % CEX Acidic Peak by CEX-HPLC | 14.3-27.6 | % | Table 1, paragraph [0220], "Molecular attribute ranges obtained in ustekinumab compositions and reference product lots" -- Reference Product row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | 22 months | Real-time storage condition (RSC), 5C, prefilled syringe (PFS), horizontal orientation | Molecular attribute range (end-of-shelf) | % HMW by SE-UHPLC | 0.5-0.6 | % | Table 2, paragraph [0221]-[0222], row "Ustekinumab composition (22 mo)" (No. of lots = 5). RSC = 5C storage only, prior to the additional 2-month accelerated stage below.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | 22 months | Real-time storage condition (RSC), 5C, prefilled syringe (PFS), horizontal orientation | Molecular attribute range (end-of-shelf) | % IsoAsp (HC D55) by reduced peptide map | 5 | % | Table 2, row "Ustekinumab composition (22 mo)" (No. of lots = 2).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | 22 months | Real-time storage condition (RSC), 5C, prefilled syringe (PFS), horizontal orientation | Molecular attribute range (end-of-shelf) | % LC W32Ox by reduced peptide map | <1 | % | Table 2, row "Ustekinumab composition (22 mo)" (No. of lots = 2).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 then 30 | 22 months + 2 months | RSC 5C x22mo, then accelerated storage condition (ASC) 30C/75%RH x2mo, PFS, horizontal orientation | Molecular attribute range (end-of-shelf) | % HMW by SE-UHPLC | 0.6-0.8 | % | Table 2, row "Ustekinumab composition end of shelf (22 mo + 2 mo @30C)" (No. of lots = 5). This is Amgen's defined 'end-of-shelf' condition for the ABP 654 composition.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 then 30 | 22 months + 2 months | RSC 5C x22mo, then accelerated storage condition (ASC) 30C/75%RH x2mo, PFS, horizontal orientation | Molecular attribute range (end-of-shelf) | % IsoAsp (HC D55) by reduced peptide map | 13 | % | Table 2, row "Ustekinumab composition end of shelf (22 mo + 2 mo @30C)" (No. of lots = 2).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 then 30 | 22 months + 2 months | RSC 5C x22mo, then accelerated storage condition (ASC) 30C/75%RH x2mo, PFS, horizontal orientation | Molecular attribute range (end-of-shelf) | % LC W32Ox by reduced peptide map | 1 to <2 | % | Table 2, row "Ustekinumab composition end of shelf (22 mo + 2 mo @30C)" (No. of lots = 2).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | 36 months | Real-time storage condition (RSC), 5C, then archived at -70C prior to expiry; PFS/45mg vial/130mg vial SKUs | Molecular attribute range (end-of-shelf) | % HMW by SE-UHPLC | 0.3-0.4 | % | Table 2, row "Reference Product end of shelf (36 mo)" (No. of lots = 33). Amgen's defined 'end-of-shelf' condition for Reference Product (STELARA).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | 36 months | Real-time storage condition (RSC), 5C, then archived at -70C prior to expiry; PFS/45mg vial/130mg vial SKUs | Molecular attribute range (end-of-shelf) | % IsoAsp (HC D55) by reduced peptide map | 5-6 | % | Table 2, row "Reference Product end of shelf (36 mo)" (No. of lots = 4).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | 36 months | Real-time storage condition (RSC), 5C, then archived at -70C prior to expiry; PFS/45mg vial/130mg vial SKUs | Molecular attribute range (end-of-shelf) | % LC W32Ox by reduced peptide map | <1 | % | Table 2, row "Reference Product end of shelf (36 mo)" (No. of lots = 4).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % HMW | 0.5-0.8 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % IsoAsp (HC D55) | 5-13 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row. NOTE: the IsoAsp value here (5-13%) differs from Table 1's IsoAsp value for the same material (1-2%); both are transcribed verbatim, not reconciled.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % LC W32Ox | 0 to <2 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % High Mannose | 2.0-3.7 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % Sialylation | 22.3-29.5 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % CEX Acidic Peak | 46.9-55.0 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Ustekinumab composition row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % HMW | 0.1-0.5 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % IsoAsp (HC D55) | 4-6 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % LC W32Ox | <1 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % High Mannose | 0.7-1.8 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % Sialylation | 8.5-26.4 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Combined range across all tested lots + end-of-shelf lots, multiple SKUs (union of Table 1- and Table 2-type datasets) | Molecular attribute range (combined) | % CEX Acidic Peak | 14.3-27.6 | % | Table 3, paragraph [0224], "Combined molecular attribute ranges in ustekinumab compositions and Reference Product" -- Reference Product row.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 0 h (control) | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control | Forced-degradation potency/oxidation (AAPH) | Oxidized LC W32 (%) by reduced peptide map | 1 | % | Table 4, paragraph [0230], "Relative Activity by Chemical Oxidation (AAPH Oxidation for Tryptophan, hour 24)", row "Negative control". Assay = AlphaScreen receptor-ligand binding / STAT-luciferase reporter gene bioassay (Example 1/4, paragraphs [0225]-[0229]).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 24 h | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 | Forced-degradation potency/oxidation (AAPH) | Oxidized LC W32 (%) by reduced peptide map | 44 | % | Table 4, paragraph [0230], row "Hour 24". Text conclusion (paragraph [0231]): "tryptophan oxidation, resulting in oxidation of 44% of LC W32, impacted potency of ustekinumab, as measured by the IL-23-mediated signaling and IL-12-mediated signaling."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 0 h (control) | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control | Forced-degradation potency/oxidation (AAPH) | % IL-23 Receptor-Ligand Binding (mean, %CV in parens) | 104 (7) | % | Table 4, paragraph [0230], "Relative Activity by Chemical Oxidation (AAPH Oxidation for Tryptophan, hour 24)", row "Negative control". Assay = AlphaScreen receptor-ligand binding / STAT-luciferase reporter gene bioassay (Example 1/4, paragraphs [0225]-[0229]).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 24 h | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 | Forced-degradation potency/oxidation (AAPH) | % IL-23 Receptor-Ligand Binding (mean, %CV in parens) | 101 (6) | % | Table 4, paragraph [0230], row "Hour 24". Text conclusion (paragraph [0231]): "tryptophan oxidation, resulting in oxidation of 44% of LC W32, impacted potency of ustekinumab, as measured by the IL-23-mediated signaling and IL-12-mediated signaling."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 0 h (control) | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control | Forced-degradation potency/oxidation (AAPH) | % Inhibition of IL-23-mediated signaling (mean, %CV in parens) | 95 (2) | % | Table 4, paragraph [0230], "Relative Activity by Chemical Oxidation (AAPH Oxidation for Tryptophan, hour 24)", row "Negative control". Assay = AlphaScreen receptor-ligand binding / STAT-luciferase reporter gene bioassay (Example 1/4, paragraphs [0225]-[0229]).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 24 h | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 | Forced-degradation potency/oxidation (AAPH) | % Inhibition of IL-23-mediated signaling (mean, %CV in parens) | 54 (7) | % | Table 4, paragraph [0230], row "Hour 24". Text conclusion (paragraph [0231]): "tryptophan oxidation, resulting in oxidation of 44% of LC W32, impacted potency of ustekinumab, as measured by the IL-23-mediated signaling and IL-12-mediated signaling."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 0 h (control) | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control | Forced-degradation potency/oxidation (AAPH) | % IL-12 Receptor-Ligand Binding (mean, %CV in parens) | 100 (6) | % | Table 4, paragraph [0230], "Relative Activity by Chemical Oxidation (AAPH Oxidation for Tryptophan, hour 24)", row "Negative control". Assay = AlphaScreen receptor-ligand binding / STAT-luciferase reporter gene bioassay (Example 1/4, paragraphs [0225]-[0229]).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 24 h | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 | Forced-degradation potency/oxidation (AAPH) | % IL-12 Receptor-Ligand Binding (mean, %CV in parens) | 106 (7) | % | Table 4, paragraph [0230], row "Hour 24". Text conclusion (paragraph [0231]): "tryptophan oxidation, resulting in oxidation of 44% of LC W32, impacted potency of ustekinumab, as measured by the IL-23-mediated signaling and IL-12-mediated signaling."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 0 h (control) | Forced degradation - chemical oxidation (AAPH for tryptophan), unstressed (negative) control | Forced-degradation potency/oxidation (AAPH) | % Inhibition of IL-12-mediated signaling (mean, %CV in parens) | 103 (3) | % | Table 4, paragraph [0230], "Relative Activity by Chemical Oxidation (AAPH Oxidation for Tryptophan, hour 24)", row "Negative control". Assay = AlphaScreen receptor-ligand binding / STAT-luciferase reporter gene bioassay (Example 1/4, paragraphs [0225]-[0229]).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | 24 h | Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24 | Forced-degradation potency/oxidation (AAPH) | % Inhibition of IL-12-mediated signaling (mean, %CV in parens) | 66 (2) | % | Table 4, paragraph [0230], row "Hour 24". Text conclusion (paragraph [0231]): "tryptophan oxidation, resulting in oxidation of 44% of LC W32, impacted potency of ustekinumab, as measured by the IL-23-mediated signaling and IL-12-mediated signaling."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | PK modeling (simulation), not an empirical storage/thermal stress study | PK/clearance modeling | Estimated increase in clearance vs. 0.7% HM reference (model) | 0.6 | % | Table 5, paragraph [0232]-[0233]. Model inputs: ustekinumab HM level = 1.8% (Reference Product HM level fixed at 0.7%); half-life assumed 24.5 days (single 90 mg SC dose, healthy adults); increased rate constant 0.035 Day^-1 for the HM form (based on a reference IgG2 antibody's HM decrease rate after single IV dose, the highest such rate constant analyzed to date, chosen as a conservative estimate); PK profile modeled to 122.5 days (5 half-lives), no preferential-pairing correction applied.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | PK modeling (simulation), not an empirical storage/thermal stress study | PK/clearance modeling | Estimated increase in clearance vs. 0.7% HM reference (model) | 1.6 | % | Table 5, paragraph [0232]-[0233]. Model inputs: ustekinumab HM level = 3.7% (Reference Product HM level fixed at 0.7%); half-life assumed 24.5 days (single 90 mg SC dose, healthy adults); increased rate constant 0.035 Day^-1 for the HM form (based on a reference IgG2 antibody's HM decrease rate after single IV dose, the highest such rate constant analyzed to date, chosen as a conservative estimate); PK profile modeled to 122.5 days (5 half-lives), no preferential-pairing correction applied.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | PK modeling (simulation), not an empirical storage/thermal stress study | PK/clearance modeling | Estimated increase in clearance vs. 0.7% HM reference (model) | 10 | % | Table 5, paragraph [0232]-[0233]. Model inputs: ustekinumab HM level = 19.3% (Reference Product HM level fixed at 0.7%); half-life assumed 24.5 days (single 90 mg SC dose, healthy adults); increased rate constant 0.035 Day^-1 for the HM form (based on a reference IgG2 antibody's HM decrease rate after single IV dose, the highest such rate constant analyzed to date, chosen as a conservative estimate); PK profile modeled to 122.5 days (5 half-lives), no preferential-pairing correction applied.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | % Sialylation (US Reference Product PFS) | 23.3 | % | Table 6, paragraph [0234]-[0235], row "Reference Product (US) PFS". Sialylated species exposure = 20.9 mg in a 90 mg dose.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | Sialylated species exposure (US Reference Product PFS) | 20.9 | mg | Table 6, row "Reference Product (US) PFS", 90 mg dose formulation.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | % Sialylation (EU Reference Product PFS) | 23 | % | Table 6, row "Reference Product (EU) PFS". Sialylated species exposure = 20.7 mg in a 90 mg dose.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [12 empty] | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | Sialylated species exposure (EU Reference Product PFS) | 20.7 | mg | Table 6, row "Reference Product (EU) PFS", 90 mg dose formulation.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | % Sialylation (Ustekinumab Composition PFS) | 29 | % | Table 6, row "Ustekinumab Composition PFS". Sialylated species exposure = 26.1 mg in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | Sialylated species exposure (Ustekinumab Composition PFS) | 26.1 | mg | Table 6, row "Ustekinumab Composition PFS", 90 mg dose formulation.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | % Sialylation (Ustekinumab Composition PFS/Autoinjector) | 28.9 | % | Table 6, row "Ustekinumab Composition PFS/Autoinjector". Sialylated species exposure = 26.0 mg in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  |  | Clinical trial exposure calculation (Phase 1), 90 mg dose | Sialylation clinical exposure | Sialylated species exposure (Ustekinumab Composition PFS/Autoinjector) | 26 | mg | Table 6, row "Ustekinumab Composition PFS/Autoinjector", 90 mg dose formulation. Text (paragraph [0235]): no adverse events (binding ADA, headache, diarrhea, nausea, back pain, COVID-19, pruritus, myalgia, dizziness, oropharyngeal pain, abdominal pain, nasopharyngitis, fatigue) correlated with sialylated drug-product exposure up to 29.0%.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 22 months + 2 months | RSC 2-8C x22mo, then ASC 30C x2mo (n=10 lots HMW/Acidic; n=4 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % HMW by SE-UHPLC | 0.1-0.9 | % | Table 7, paragraph [0238]-[0239], row "22 mo at 2-8C plus 2 mo at 30C".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 22 months + 2 months | RSC 2-8C x22mo, then ASC 30C x2mo (n=10 lots HMW/Acidic; n=4 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % IsoAsp (HC D55) by reduced peptide map | 13-14 | % | Table 7, row "22 mo at 2-8C plus 2 mo at 30C".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 22 months + 2 months | RSC 2-8C x22mo, then ASC 30C x2mo (n=10 lots HMW/Acidic; n=4 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % LC W32Ox by reduced peptide map | 1-2 | % | Table 7, row "22 mo at 2-8C plus 2 mo at 30C".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 22 months + 2 months | RSC 2-8C x22mo, then ASC 30C x2mo (n=10 lots HMW/Acidic; n=4 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % Acidic Peaks by CEX-HPLC | 57.5-60.3 | % | Table 7, row "22 mo at 2-8C plus 2 mo at 30C". Text (paragraph [0239]): compositions "can comprise up to at least 0.9% HMW species, 14% IsoAsp (HC D55), 2% LC W32Ox, and/or 60.3% acidic peaks, and be suitable for medical use."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 34 months + 2 months | RSC 2-8C x34mo, then ASC 30C x2mo (n=1 lot HMW/Acidic; n=2 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % HMW by SE-UHPLC | 0.8 | % | Table 7, row "34 mo at 2-8C plus 2 mo at 30C" (single-lot value, min=max).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 34 months + 2 months | RSC 2-8C x34mo, then ASC 30C x2mo (n=1 lot HMW/Acidic; n=2 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % IsoAsp (HC D55) by reduced peptide map | 14 | % | Table 7, row "34 mo at 2-8C plus 2 mo at 30C".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 34 months + 2 months | RSC 2-8C x34mo, then ASC 30C x2mo (n=1 lot HMW/Acidic; n=2 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % LC W32Ox by reduced peptide map | 1 | % | Table 7, row "34 mo at 2-8C plus 2 mo at 30C".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 2-8 then 30 | 34 months + 2 months | RSC 2-8C x34mo, then ASC 30C x2mo (n=1 lot HMW/Acidic; n=2 lots IsoAsp/W32Ox) | Molecular attribute range (end-of-shelf, additional lots) | % Acidic Peaks by CEX-HPLC | 59.2 | % | Table 7, row "34 mo at 2-8C plus 2 mo at 30C" (single-lot value, min=max).
US20260176330A1 | F3_desialylation_forcedeg_buffer | 90-100 (post buffer-exchange/concentration; approximate per text) | L-Histidine | 6.4 | 6 | Sucrose | 7.6% (w/v) | Polysorbate 80 | 0.002-0.006 (spiked from 0.1% stock solution) |  |  |  | 50 | 0, 3, 7, 10, 14 days | Thermal stress (forced degradation), desialylated vs. sialylated (28% ustekinumab / 20% Reference Product) material | Forced degradation (thermal) - result graphical only | SE-UHPLC and reduced peptide mapping (aggregation/oxidation trend) | See FIG. 1B (graph, not extractable as text) |  | Paragraph [0245], [0247]-[0248]: samples degraded up to 14 days in a 50C incubator (day-0 control kept 2-8C); analyzed by SE-UHPLC and reduced peptide mapping per Example 1 methods. Conclusion stated only qualitatively in text (paragraph [0248]): "it was concluded that sialylation levels of up to 28% have no negative impact on protein stability (based on SEC analysis) in ustekinumab compositions." No numeric time-course values are given in extractable text -- results are bar/line graphs (FIG. 1B) only; NOT fabricated into numbers here.
US20260176330A1 | F3_desialylation_forcedeg_buffer | 90-100 (post buffer-exchange/concentration; approximate per text) | L-Histidine | 6.4 | 6 | Sucrose | 7.6% (w/v) | Polysorbate 80 | 0.002-0.006 (spiked from 0.1% stock solution) |  |  |  | 25 | 0, 1, 3, 6.3 days (1.2 million lux-hours total) | Photo stress (forced degradation), 8.0 klux cool white visible light, desialylated vs. sialylated material | Forced degradation (photostability) - result graphical only | SE-UHPLC and reduced peptide mapping (aggregation/oxidation trend) | See FIG. 1A (graph, not extractable as text) |  | Paragraph [0245]-[0246], [0248]: photostability chamber set to 25C / 8 klux; day-0 control kept dark at 2-8C; foil-wrapped controls stored in chamber until last timepoint. No numeric time-course values are given in extractable text -- results are graphs (FIG. 1A) only; NOT fabricated into numbers here.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | per month (regression slope) | Real-time storage stability modeling, 5C (clinical-lot regression slope) | Storage-stability slope (linear model) | HMW common slope estimate | 0.001 | %/month | Table 8, paragraph [0258], row "Reference Product (EU)", "Reference Product and ustekinumab HMW Common Slope Estimate %".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | per month (regression slope) | Real-time storage stability modeling, 5C (clinical-lot regression slope) | Storage-stability slope (linear model) | HMW common slope estimate | 0.008211 | %/month | Table 8, paragraph [0258], row "Ustekinumab composition PFS".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | HMW species exposure, 90 mg dose | 0.52 | % | Paragraph [0259], Example 9: "0.47 mg HMW species at the time of clinical administration ... corresponds to 0.52% ... in a 90 mg dose formulation." Phase 3 trial lots; ref. PCT/US21/63641 (WO2022/132982).
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | HMW species exposure, 45 mg dose (calculated) | 1.04 | % | Paragraph [0259]: "A maximum exposure of 0.47 mg corresponds to 0.52% in a 90 mg dose and 1.04% in a 45 mg dose" -- the 45 mg value is a gravimetric back-calculation, not an independently measured 45 mg lot.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | HMW species exposure, 90 mg dose | 0.32 | % | Paragraph [0259]: Reference Product "comprised up to 0.28 mg HMW species (0.32% HMW species) at the time of clinical administration" in a 90 mg dose.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | per month (regression slope) | Real-time storage stability modeling, 5C (clinical-lot regression slope) | Storage-stability slope (linear model) | D55 isomerization (IsoAsp) common slope estimate | 0 | %/month | Table 9, paragraph [0260], row "Reference Product (EU)", "Reference Product and ustekinumab D55 isomerization species Common Slope Estimate %".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | per month (regression slope) | Real-time storage stability modeling, 5C (clinical-lot regression slope) | Storage-stability slope (linear model) | D55 isomerization (IsoAsp) common slope estimate | 0.00246 | %/month | Table 9, paragraph [0260], row "Ustekinumab composition PFS".
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | IsoAsp (HC D55) exposure, 90 mg dose | 7.15 | % | Paragraph [0261], Example 10: "6.44 mg D55 isomerization ... corresponds to 7.15% ... in a 90 mg dose formulation."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | IsoAsp (HC D55) exposure, 45 mg dose (calculated) | 14.3 | % | Paragraph [0261]: "A maximum heavy chain D55 isomerization species exposure of 6.44 mg corresponds to 7.15% in a 90 mg dose and 14.30% in a 45 mg dose" (gravimetric back-calculation).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | IsoAsp (HC D55) exposure, 90 mg dose | 3 | % | Paragraph [0261]: Reference Product "comprised up to 2.70 mg heavy chain D55 isomerization (3.00% heavy chain D55 isomerization) at the time of clinical administration" in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | High Mannose (HM) exposure, 90 mg dose | 3.18 | % | Paragraph [0262], Example 11: "2.87 mg HM species ... corresponds to 3.18% ... in a 90 mg dose formulation." Determined by HILIC N-glycan mapping.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | High Mannose (HM) exposure, 45 mg dose (calculated) | 6.36 | % | Paragraph [0262]: "A maximum exposure of 2.87 mg HM corresponds to 3.18% in a 90 mg dose and 6.36% in a 45 mg dose" (gravimetric back-calculation).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | High Mannose (HM) exposure, 90 mg dose | 1.03 | % | Paragraph [0262]: Reference Product "comprised up to 0.93 mg (1.03%) HM species at the time of clinical administration" in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized LC W32 exposure, 90 mg dose | 1 | % | Paragraph [0263], Example 12: "0.90 mg oxidized LC W32 ... corresponds to 1.00% ... in a 90 mg dose formulation."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized LC W32 exposure, 45 mg dose (calculated) | 2 | % | Paragraph [0263]: "a maximum exposure of 0.90 mg corresponds to 1.00% in a 90 mg dose and 2.00% in a 45 mg dose" (gravimetric back-calculation).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized LC W32 exposure, 90 mg dose | 0.3 | % | Paragraph [0263]: Reference Product "comprised up to 0.27 mg oxidized LC W32 ... at the time of clinical administration", corresponding to 0.30% in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized HC W33 exposure, 90 mg dose | 0.4 | % | Paragraph [0263], Example 12: "0.36 mg oxidized HC W33 ... corresponds to ... 0.40%, ... in a 90 mg dose formulation."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized HC W33 exposure, 45 mg dose (calculated) | 0.8 | % | Paragraph [0263]: "for oxidized HC W33, a maximum exposure of 0.36 mg corresponds to 0.40% in a 90 mg dose and 0.80% in a 45 mg dose" (gravimetric back-calculation).
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | Oxidized HC W33 exposure, 90 mg dose | 0.05 | % | Paragraph [0263]: Reference Product "comprised up to ... 0.05 mg oxidized HC W33, at the time of clinical administration", corresponding to 0.05% in a 90 mg dose.
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | CEX-HPLC acidic peak species exposure, 90 mg dose | 55.31 | % | Paragraph [0264], Example 13: "49.78 mg acidic peak species ... corresponds to 55.31% ... in a 90 mg dose formulation."
US20260176330A1 | F1_ABP654_commercial_90mgmL | 90 | L-Histidine / L-Histidine monohydrochloride monohydrate |  | 5.7-6.3 | Sucrose | 76 mg/mL | Polysorbate 80 | 0.004 (0.04 mg/mL) |  |  | L-histidine + L-histidine HCl monohydrate combined at 1 mg/mL (buffer system); concentrations given in patent as mg/mL, not mM |  | through time of clinical administration (45 mg dose, gravimetric calc.) | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | CEX-HPLC acidic peak species exposure, 45 mg dose (calculated) | 110.62 | % | Paragraph [0264]: "A maximum exposure of 49.78 mg acidic peak species corresponds to 55.31% in a 90 mg dose and 110.62% in a 45 mg dose" -- value >100% is a gravimetric back-calculation artifact explicitly acknowledged in the patent text ("or up to 100% acidic peak species" cap proposed elsewhere), transcribed verbatim, not corrected.
US20260176330A1 | F4_STELARA_ReferenceProduct_Janssen | 90 | [10 empty] | 5 | through time of clinical administration | Real-time storage stability (5C), Phase 3 clinical trial drug product, exposure calculated at time of clinical administration from a linear (%/month) storage-stability model | Molecular attribute clinical exposure | CEX-HPLC acidic peak species exposure, 90 mg dose | 27.02 | % | Paragraph [0264]: Reference Product "comprised up to 24.32 mg (27.02%) acidic peak species at the time of clinical administration" in a 90 mg dose.

## Metadata_필드설명
Field | Description
patent_id | Publication number of the source patent (findip canonical ID). All rows cite US20260176330A1, Amgen's sole ustekinumab-related molecular-attribute/CQA-range patent found in this search.
formulation_id | Internal short code identifying the formulation/material referenced by a row: F1 = ABP 654 commercial 90 mg/mL drug product; F2 = alternate 5 mg/mL R&D embodiment (paragraph [0126]); F3 = the force-degradation reformulation buffer used in Example 8; F4 = Reference Product (Janssen STELARA).
protein_conc_mg_ml | Ustekinumab (or anti-IL-12/IL-23 antibody) concentration in the formulation, mg/mL, where stated.
buffer | Buffer system used (e.g., L-Histidine / L-Histidine monohydrochloride monohydrate). Blank for Reference Product rows -- its excipient composition is not restated in this Amgen patent.
buffer_conc_mM | Buffer concentration in mM, where explicitly stated in those units in the source. The commercial F1 formulation's buffer is instead given in mg/mL (1 mg/mL total) in the source text -- see the 'other_excipients' column and notes rather than this field, to avoid fabricating a unit conversion.
ph | Formulation pH (single value or stated range).
sugar_or_polyol | Stabilizing sugar/polyol excipient (Sucrose in all disclosed ustekinumab formulations here).
sugar_conc | Concentration of the sugar/polyol excipient, as stated in source (mg/mL or % w/v).
surfactant | Surfactant used (Polysorbate 80 in all disclosed ustekinumab formulations here).
surfactant_conc_pct | Surfactant concentration. Reported as stated in source (mg/mL converted to an approximate % where the source itself gives both; ranges where the source gives a range).
amino_acid | Free amino-acid excipient/stabilizer (e.g., L-Methionine), if any.
amino_acid_conc_mM | Amino-acid excipient concentration, mM.
other_excipients | Any additional excipients not captured in the dedicated columns (e.g., EDTA), or clarifying notes on how a composition's concentration units were reported in the source.
storage_temp_C | Storage/stress temperature, degrees Celsius. May show a transition (e.g., '5 then 30') for two-stage real-time + accelerated 'end-of-shelf' protocols. Blank for pure composition-reference rows, for PK-modeling rows, and for rows reporting a combined/lot-range value not tied to one single storage condition.
duration | Storage/stress duration, or the clinical/regression context for a value (e.g., 'per month (regression slope)', 'through time of clinical administration'). Blank for pure composition-reference and PK-modeling rows.
stress_type | Type of stability study or data context (e.g., 'Formulation composition (reference)', 'Real-time storage condition (RSC), 5C ...', 'Forced degradation - chemical oxidation (AAPH for tryptophan), hour 24', 'PK modeling (simulation) ...', 'Clinical trial exposure calculation (Phase 1/3) ...').
stability_category | Category of the measurement/analytical method (e.g., 'Molecular attribute range (lot testing)', 'Forced-degradation potency/oxidation (AAPH)', 'PK/clearance modeling', 'Storage-stability slope (linear model)', 'Molecular attribute clinical exposure').
indicator_name | Name of the stability-indicating assay/readout (e.g., '% HMW by SE-UHPLC', '% IsoAsp (HC D55) by reduced peptide map', 'Oxidized LC W32 exposure, 90 mg dose').
value | Measured/reported value, transcribed verbatim from the patent text or table. Ranges are kept as ranges (e.g., '0.5-0.8'); qualifiers such as '<1' or '0 to <2' are kept as printed. Never invented.
unit | Unit of the measured value (e.g., '%', 'mg', '%/month').
notes | Paragraph/Table/Example/Figure citation within the patent, quoted text where useful, and any data-quality caveats (cross-table numeric discrepancies, gravimetric back-calculations, graphical-only results, etc.).
Result summary | Long_원자료 contains 90 data rows: 4 formulation-composition rows (F1 commercial 90 mg/mL, F2 alternate 5 mg/mL embodiment, F3 force-degradation reformulation buffer, F4 Reference Product placeholder); 12 rows from Table 1 (lot-range molecular attributes, Ustekinumab composition vs. Reference Product x 6 indicators); 9 rows from Table 2 (end-of-shelf comparison, 3 storage conditions x 3 indicators); 12 rows from Table 3 (combined lot+end-of-shelf ranges, 2 materials x 6 indicators); 10 rows from Table 4 (AAPH forced-oxidation potency assay, control vs. 24h x 5 indicators); 3 rows from Table 5 (high-mannose PK/clearance modeling); 8 rows from Table 6 (Phase-1 sialylation clinical exposure, 4 materials x 2 indicators); 8 rows from Table 7 (additional end-of-shelf lots, 2 conditions x 4 indicators); 2 rows from Table 8 and 2 rows from Table 9 (real-time 5C storage-stability regression slopes for HMW and D55 isomerization); 2 rows documenting the Example 8 force-degradation stress conditions (results graphical-only, not fabricated); and 18 rows from Examples 9-13 (Phase-3 clinical shelf-life exposure calculations for HMW, IsoAsp/D55, high mannose, LC-W32 and HC-W33 oxidation, and CEX acidic-peak species, each at the 90 mg dose as measured and the 45 mg dose as gravimetrically back-calculated, vs. Reference Product). Wide_요약 pivots every row that carries a stress condition (i.e., excludes the 4 pure composition-reference rows) into 21 grouped rows across 42 indicator columns.